## Slide 1: MATRIX ASSISTED LASER DESORPTION/ IONIZATION TIME - OF –FLIGHT Principle & Applications

## Slide 2: MALDI
Ionization
Ion Separation
Ion Detection
Ion Source
Electron ionization
Chemical ionization
Electrospray ionization
MALDI
Mass Analyzer
Quadruple
Magnetic sector filed
Ion trap
Time of flight
Detector
Electron multiplier
Multichannel plate
Faraday cup
Mass Spectrometers

## Slide 3: PRINCIPLE
m/z
Relative Intensity (a.u.)
0
20,000
30,000
22,000
24,000
26,000
28,000
0.5
1.0
2.0
3.0
104

## Slide 4: COMMONLY USED MATRIXES IN MALDI

## Slide 5: SCREENSHOTS OF COMMON MATRIXES USED IN MALDI
HCCA matrix
Terthiophene matrix
3-HPA matrix
DHB matrix
Sinapinic acid matrix
Dithranol matrix

## Slide 6: LINEAR Vs REFLECTRON MODES
Linear mode
Reflectron mode
Reflectron mode
Linear mode

## Slide 7: MALDI TOF - ANIMATION

## Slide 8: MALDI MS/MS or TOF/TOF
Precursor Ion Fragmentation

## Slide 9: MS/MS – PROTEIN IDENTIFICATION
LGFNAEPVR
MS SPECTRA
MS/MS SPECTRA
Mascot search results & Interpretation

## Slide 10: Representative Spectras of Different Sample Types

## Slide 11: Protein Spectra- Mass Identification
P53 protein

## Slide 12: Peptide Spectra- Mass Identification
Synthetic peptide

## Slide 13: Peptide Spectra- MS
BSA

## Slide 14: Peptide Spectra- MS/MS
BSA

## Slide 15: Peptide Mass Fingerprint Using MALDI
Conclusion- Expected mass was observed in MS spectra
Conclusion- Expected protein gives first hit in MS/MS spectra

## Slide 16: Nucleic acid Spectra- Mass Identification
Synthesized Single stranded DNA

## Slide 17: Polymer Spectra- Polymer characterization
P3HT polymer sample

## Slide 18: Protein binding
Gold Nano particle binding to Fish Oil protein

## Slide 19: Protein binding
Mercury binding to Lactalbumin

## Slide 20
Thank you